## Slide 1
Slicer3 Training Tutorial
Clustering of Fiber Tracts
Mahnaz Maddah, Ph.D.
GE Research
Slicer3 Training Compendium

## Slide 2
Guiding you step by step through the process of clustering of fiber bundles from diffusion MRI.
Learning Objective

## Slide 3
Prerequisites
This tutorial assumes that you have already completed the tutorial Data Loading and Visualization. Also, the tutorial, Processing of Diffusion Weighted Imaging and Diffusion Tensor Imaging data in Slicer3, is highly recommended.
Tutorials for Slicer3 are available at the following location:
• http://www.na-mic.org/Wiki/index.php/Slicer3.2:Training

## Slide 4
Materials
This tutorial requires the installation of the Slicer3 software and the tutorial dataset. They are available at the following locations:
• Slicer3 download page
http://www.slicer.org/pages/Downloads/
Note: download the latest file from Nightly Builds
• Tutorial dataset (tutorialData.zip)
http://www.nitrc.org/projects/quantitativedti/
Disclaimer: It is the responsibility of the user of Slicer to comply with both the terms of the license and with the applicable laws, regulations, and rules.
Notes: <number>
Note that the training tutorial website has not been updated yet with this particular dataset.

## Slide 5
Introduction slide 6
Technical Summary slides 7-10
Installing the clustering module slides 11-15
Loading data slides 16-18
EM Clustering Module slides 19-23
Quantitative Analysis slides 24-25
Tractography slides 25-32
Creating initial centers slides 33-39
Overview

## Slide 6
This module accepts as the input a set of fiber trajectories (3D curves) and a set of user specified initial centerlines. It groups the trajectories using an expectation-maximization algorithm and outputs the membership probabilities along with the updated cluster centers. It also outputs diffusion parameters along each trajectory with point correspondence to each cluster centerline to enable tract-oriented statistical analysis. Details of the algorithm are given in:
M. Maddah, W. Eric L. Grimson, Simon K. Warfield, William M. Wells, “A unified framework for clustering and quantitative analysis of white matter fiber tracts,” Medical Image Analysis, vol. 12, no. 2, pp. 191-202, 2008.
Introduction

## Slide 7
ith trajectory
kth cluster center
[1 2 3 4 5 6 7 8 9 10 11]
[1 1 1 2 3 5 5 6 7 8 9 ]
1
9
1
11
Trajectories are sampled uniformly.
A 3D curve is defined as the cluster center and is obtained by a weighted average of all of its corresponding points on the trajectories.
A re-indexed version of each trajectory is built to reflect its point correspondence with each cluster center.
Technical Summary(1/4)

## Slide 8
Trajectories are clustered based on their distance to each cluster center.
Euclidean distance and point-correspondence are calculated efficiently by generating a distance map and a Voronoi diagram for each cluster center.
A penalty term is added to the Euclidean distance to account for shape dissimilarity.
Technical Summary (2/4)

## Slide 9
A Gamma mixture model is used to describe the clusters based on the distance between trajectories and cluster center ( ).
The maximum likelihood estimation of unknown parameters are obtained through EM approach.
Technical Summary (3/4)
K: Number of clusters is defined by the user
Unknown mixing weights
Unknown parameters of Gamma distributions

## Slide 10
In the expectation step, membership probability of each trajectory to each cluster is calculated; parameters are assumed to be known.
In the maximization step the parameters of the mixture model are updated.
Once the EM algorithm converges, cluster centers are updated. The procedure is repeated until convergence.
Technical Summary (4/4)

## Slide 11
Module installation(1/5)
Select Extension Manager from View menu.

## Slide 12
Module installation(2/5)
Select Next

## Slide 13
Module installation(3/5)
Select EMFiberClusteringModule from the list.
Apply Download & Install.

## Slide 14
Module installation(4/5)
The module status turns green upon successful installation.
Select Next.

## Slide 15
Module installation(5/5)
You need to restart slicer to complete the installation

## Slide 16
Loading data (1/3)
Select Add Data from File menu.
Select AddFile(s).

## Slide 17
Loading data (2/3)
Navigate to where you saved the data.
Select “trajectories.vtp” and “initCenters.vtp”.
Select Open.

## Slide 18
Loading data (3/3)
Select FiberBundle All.
Select Apply.

## Slide 19
EM Clustering (1/5)
From the Modules, Select Tractography and then EM Clustering.

## Slide 20
EM Clustering (2/5)
Set the IO parameters: Set the Trajectories to “trajectories.vtp”, Out Clusters to “Create New Fiber Bundle”, Initial Centers to “initialCenters.vtp”, Final Centers to “Create New Fiber Bundle” and Output Directory to desired directory.
Keep the default values for the rest of Parameters.
Select Apply.

## Slide 21
EM Clustering (3/5)
When Clustering completed, go to FiberBundles module.
Notes: <number>

## Slide 22
EM Clustering (4/5)
Select EM Clustering Model on Display
Go to the Tube tab.
Select Fiber Cluster ID for Fiber coloring.

## Slide 23
EM Clustering (5/5)
Select EM Clustering Model1 on Display
Go to the Tube tab.
Set the Visibility on.
Make everything else invisible to see the final centers, colored by the mean FA.

## Slide 24
Quantitative Analysis(1/2)
If you check marked
Perform tract-oriented quantitative analysis,
in your specified Output Directory
you should have these files for each
cluster X:
ClusterX.vtp
CenterX.vtp
[File Prefix]_FA_clusterX.csv
[File Prefix]_MD_clusterX.csv
[File Prefix]_ParDiff_clusterX.csv
[File Prefix]_PerDiff_clusterX.csv
[File Prefix]_posteriorX.csv

## Slide 25
Quantitative Analysis(2/2)
On each CSV file, rows correspond to trajectories and columns correspond to a location along the bundle.
-1 represents missing data.
You may use matlab scripts
here to generate plots of
diffusion parameters vs.
normalized arg length for
each cluster.

## Slide 26
To work on your DTI data:
Load your DT volume.
Load/make your label image (ROI).
Follow the next slides to do tractography and to create initial centers. Here, we use DTI.nhdr and FA-label.nhdr as our DTI and ROI volumes respectively.

## Slide 27
Loading DTI volume
Select Add Volume from File menu.
Navigate to where the data is saved.
Select “DTI.nhdr” then select Apply.

## Slide 28
Loading label map
Repeat the procedure to load “FA-label.nhdr”.

## Slide 29
Tractography (1/4)
Select Labelmap Seeding module.

## Slide 30
Tractography (2/4)
Set the IO parameters.

## Slide 31
Tractography (3/4)
Based on your application, set the other tractography parameters.
Select Apply.

## Slide 32
Tractography (4/4)
The output of tractography appears on the viewer.
Fibers are colored based on their Fractional Anisotropy values.

## Slide 33
Creating initial centers (1/6)
If you do not have initial centers (from an Atlas), there are two ways to create and pass them to the clustering module:
Extract trajectories by doing tractography on diffusion tensor data from a set of carefully selected seed points (Steps are explained in the next slides) .
Pass a fiducial list to the clustering module (Fiducials to Pick Initial Centers). In this case the module internally picks the closest trajectories to every fiducial in the list and will use them as the initial centers. Set the Output Initial Centers to “Create New Fiber Bundle” to examine the selected initial centers after the run is complete.

## Slide 34
Creating initial centers (2/6)
Set Fiducial List to Create New FiducialList.
Select one of the slice viewers by clicking inside the viewer.
Add fiducials at desired places by entering p.

## Slide 35
Creating initial centers (3/6)
Select FiducialSeeding module.

## Slide 36
Creating initial centers (4/6)
Set Output FiberBundleNode to Create New FiberBundle.
As soon as you set your Fiducial List as an input in Select FiducialList or Model, tractography is being done with the default parameters.

## Slide 37
Creating initial centers (5/6)
Set the Fiducial Seeding Region Size to 0.0 to
get only one fiber per seed.
On the viewer you may move around every seed to
get a trajectory that represents the shape of your
desired cluster.

## Slide 38
Creating initial centers (6/6)
To cluster your trajectories go to EM Clustering module.

## Slide 39
National Alliance for Medical Image Computing
NIH U54EB005149
Neuroimage Analysis Center
NIH P41RR013218
Surgical Planning Laboratory (BWH)
Acknowledgements